Swimming Pool Annual Compliance Inspection Checklist For the Public

To pass an inspection, a pool must have no CRITICAL or IMPORTANT violations.
Pool Enclosure Safety, Signage and Training
1. Pool operator certification: proof of an approved training for pool operator is provided.  (pg 13) See list for approved trainings IMPORTANT
a. This means a copy of the training certificate must be shown to the environmentalist. 
2.   Gates into the pool enclosure are self-closing and self-latching.  Doors are not required to be self-closing and self-latching.    Any gate, which is locked and the person-in-charge informs the environmentalist that the patrons do not have a key OR combination, will not have to be self-closing and self-latching.  This means padlocked service gates are adequate.  Any gates with magnetic/electric locks also must have a non-electric latch installed or a battery back-up system.  (pg 6) CRITICAL
3. The fence is intact at least 4 feet high and no more than 4 inches between the fence and the ground/ cement. (pg 6) IMPORTANT 
Note:  Not required for spray pools.
a. There must be no sections of the required safety barrier missing.
(pg 2) CRITICAL
Note:  With barriers on elevated decks, we will consider the distance from the ground to the top of the barrier as the distance which must be at least 4 feet tall.

Note: As long as one side of the barrier is as least 4 feet high, this will be considered adequate. 

4. Life ring buoy with rope AND an adequate shepherd’s crook meets the following requirements:
a. Mounted in a conspicuous place on the pool edge and ready for access. IMPORTANT

b. In good repair.  IMPORTANT
c. The rope for life ring buoy is at least as long as the width of pool plus 10 feet. IMPORTANT
d. The shepherd’s crook is at least 16 feet long. IMPORTANT
e. The function of the equipment must be clearly marked.  Example would be “FOR EMERGENCY USE ONLY” written on the life ring buoy/shepherd’s crook or on a nearby sign.
BEST OPERATIONAL
Note:  A life ring and a shepherd’s crook is not required if a body of water is shallow such as wading pools and spas, if this is the  only pool in the enclosure.
5. Phone present, ATTACHED, accessible, and operational. (pg 15) IMPORTANT
NOTE:  Cell phones and phones which dial call centers instead of 911 are allowed.

NOTE:  Phones inside apartment or hotel offices are adequate as long as the office is adjacent to the pool and the office is open when the pool is open. 

NOTE:  Attached means a phone either cell or land line hanging on a wall, a phone sitting on a table with a line running to a phone jack, a cell phone connected with a cord to the inside of a box.  Attached is NOT a cell phone laying on a table.  Attached is NOT a cordless phone.  
6. Pool rule sign is adequate. (pg 14) SEE HANDOUT BEST OPERATIONAL
7. A “No Lifeguard On Duty” sign or “No Attendant On Duty” sign is displayed within the pool enclosure or on the fence. (pg 14) Not required for spray pools. IMPORTANT
8. First aid kit on-site and accessible to all patrons. (pg 15) BEST OPERATIONAL
9. The emergency contact information is posted on the exterior of at least one of the entrances into the pool enclosure. (pg 13) IMPORTANT
NOTE:  The only minimum required is phone number and words such as “for a pool problem call”, “emergency call”, or “this pool serviced by”.
Pool Equipment, Condition, and Cleanliness

1. Pool is uncovered. Pool and deck are clean.  (pg 14) IMPORTANT
2. Pool interior surface and deck in good condition. (pg 3 and 6) IMPORTANT
NOTE: Document the violation and issue a one-year time frame for correction of this violation, on the opening inspection report.  The exception is when you deem that the condition of the pool or deck is a cutting hazard, whereby the pool must not be allowed to open.
3. No feces or vomit in pool. (pg 13) CRITICAL
4. No broken glass or other sharp surfaces on pool deck or in pool. (pg 15) CRITICAL
5. Pool ladders, hand rails, and steps are in good condition. (pg 6) BEST OPERATIONAL
6. Vacuum lines are capped or adequately covered. (pg 9) CRITICAL
7. Diffuser plates present on return inlets (pg 4) BEST OPERATIONAL
8. All skimmers are pulling water. (pg 5) BEST OPERATIONAL
9. Weirs, throttle valves, equalizer check valves, and baskets are in skimmers. (pg 5) BEST OPERATIONAL
10. Depth markers are present with FT, Feet, printed by them.  Depth markers are present at deep end, shallow end, and the break on the deck and the water line. (pgs 3 and 4) BEST OPERATIONAL
11. A life line is strung at the slope break and in good condition (the life line must be at least ¾ inch width). (pg 6 and 15) IMPORTANT
12. A wading pool which is part of a larger pool has a life line at a water depth of no deeper than 18 inches. (pg 6) BEST OPERATIONAL 
13. Pools with night swimming must have overhead lights and underwater lights functional. (pg 8) BEST OPERATIONAL
14.  Skimmer equalizer lines opening have a cover. (pg 4) 
BEST OPERATIONAL
15. All pools must have at least two main drains which are connected under the pool OR one unblockable main drain.  Another option is there are two unconnected main drains and they are both unblockable.  Also, the main drains are intact AND the main drains are clearly visible. (pgs 2 and 13) 
CRITICAL
NOTE:  “Unblockable” means one dimension of the main drain cover is a minimum of 29 inches.

NOTE:  A separate main drain or main drains may be present for the intake of water for a water such a water slide or mushroom. 
NOTE:  We do not enforce that Virginia Graeme Baker (VGB) compliant drain covers have been installed.  VGB is enforced by the federal agency, Consumer Product Safety Commission (CPSC).
Pump and Filter Room/ Area
1. All pumps are operational. (pg 9) CRITICAL
2. Pump room is clean and in good repair. (pg 14) BEST OPERATIONAL
3. Filters are operational. (pg 10) CRITICAL
4. Disinfectant Feeders are operational. CRITICAL
a. Chlorinator/Brominator properly connected. (pg 9) CRITICAL
5. Influent and effluent pressure gauges in place for cartridge, sand, and pressure D.E. filters. Vacuum gauge present for vacuum D.E. filter. (pg 10) BEST OPERATIONAL
NOTE:  Operational means that it provides a measurable reading.    
6. Flow meter is functional (pg 8) IMPORTANT
Minimum Flow Rate Formula

(Use the pool information sheets) Pool volume (gallons) / turnover (min) = Flow rate (gallons/min)

Required maximum turnover:  

a. Main pools 8 hours (480 minutes) (pg 8) IMPORTANT
b. Wading pools (or zero-depth pools) 2 hours (120 minutes) 

(pg 6 and 8) IMPORTANT
c. Spas 30 minutes (pg 15) IMPORTANT
7. A DPD test kit is present. (pg 13 and 14) BEST OPERATIONAL
8. Records of daily chemical testing of free available chlorine and pH are provided. (pg 14) BEST OPERATIONAL
9. Any fill line system must have a visible back flow prevention device installed or an adequate air gap. (pg 5) BEST OPERATIONAL
Restrooms

1. Restrooms are clean.  BEST OPERATIONAL 
2. Hand washing sink with cold running water is provided in either both the men’s and women’s restrooms or in a unisex restroom.
3. Soap is provided. (pg 14)  BEST OPERATIONAL 
4. A functional toilet is provided in either the men’s and women’s restroom or in a unisex restroom. (pg 12) 
Note:  The above standards are for all pools except apartments, hotels, and condominiums.  We do not inspect the restrooms in those type of facilities.
Note:  In case a pool has never had bath house/restrooms.  We will not mark any the above items as a violation.

Note:  We do not inspect for hot water, showers and water fountains in existing pools.

NOTE:   Remember we do not enforce Americans with Disabilities Act (ADA).  Refer any questions from pool operators about lifts or ramps to U.S. Department of Justice.  They have a 1-800 number on their website.
Water Source
1. Water must come from an approved source (pg 3) CRITICAL
Note:  If water source is a well testing will be required before the water source is approved and then on a regular basis.  See hand out

Chemistry & Temperature Parameters

	
	MIN
	MAX
	

	Chlorine
CRITICAL
	1.0 PPM
	none
	CYA <50 PPM

	Chlorine CRITICAL
	1.5 PPM
	none
	CYA ≥ 50 PPM

	Bromine CRITICAL
	2.0 PPM
	none
	

	pH 
CRITICAL
	7.2 
	7.8
	

	CYA
BEST OPERATIONAL
	None
	100 PPM
	

	Alkalinity 
BEST OPERATIONAL
	80 PPM
	none
	

	Temperature
BEST OPERATIONAL
	None
	105 deg. F
	


Note:  If a pool does not pass the inspection, the inspector will give contact information to the customer, so that the customer can contact them to schedule and perform the follow-up inspection. 
Page 1 of 6


3/7/2013/dbh

